ORDINANCE 32

AN ORDINANCE ADOPTING BY REFERENCE THE ON-SITE WASTE WATER TREATMENT AND DISPOSAL SYSTEM RULES OF THE IOWA ADMINISTRATIVE CODE (CHAPTER 69) FOR UNION COUNTY, IOWA.

WHEREAS, the State of Iowa has enacted legislation setting construction standards for on-site waste water treatment and disposal systems and has formulated rules set out in Iowa Administrative Code (Chapter 69).

THE FOLLOWING ORDINANCE IS THEREFORE, ADOPTED BY THE BOARD OF SUPERVISORS OF UNION, COUNTY.

THAT the said Chapter of 69 of Iowa Administrative Code in its entirety shall henceforth be the On-Site Waste Water Treatment and Disposal System rules of Union County (A copy of same is attached hereto and shall be designated Appendix “A”.)

Expect That:

- The fee for the permit for construction or reconstruction shall be established by the Union County Board of Health.

- The contractor performing any such construction or reconstruction shall be licensed in Union County by the Board of Health

- Soil analysis replaces the percolation test method in determining feasibility for soil absorption systems and other types of systems. Percolation tests are not accepted. Soil analysis providers must be pre-approved by Union County Board of Health

- The minimum lateral footage that will be allowed is 200ft for absorption systems.

- No Plastic septic tanks are allowed for installation within the county unless preapproved by Union County Board of Health.

- Inspection Ports can be required for installation in water sensitive areas or in areas where dwellings are heavily concentrated. The Environmental Specialist will make this determination.

- All Peat Filters, Textile Filters, Mechanical Aerators systems that discharge will also be required to provide an annual sampling result of CBOD5, TSS, and ECOLI; unless they are covered by the NPDES permit. If they are covered by the NPDES permit they will be required to follow that set of rules.

Signed this____________ day of_____________ ,2015.

__________________________________________	_______________________________________

Chairman 						Attested:  Secretary

Union County Board of Supervisors